INFRASTRUCTURE DEVELOPEMENT AUTHORITY

1st Floor, Udyog Bhawan, East Gandhi Maidan, Patna - 800004

Phones : 0612-2675914, 2675945, Fax : 0612-2675889

Email : md@idabihar.com

SHORT TENDER NOTICE

N.I.T. FOR HIRING OF 63 KVA SILENT DG SET

NOTICE No- 04/TEN/IDA/13

Sealed tender under two bid system (Technical & Financial Bid ) are invited by Infrastructure Development Authority, Patna (IDA) from bonafide & resourceful owners and suppliers of 63 KVA Silent Diesel Generator Set, on hire basis for its headquarter at Patna. The required D.G. Sets should be capable of supplying continuous power of at least 90% of rated output, at the frequency of 50 Hz during power failure/load shedding at any point of time, as per requirement of IDA

Detailes information of the Tender Document can be seen & downloaded from the IDA website www.idabihar.com. The bidder has to submit non-refundable tender processing fee of 1000/- (Rupees One Thousand only) through a demand draft and also EMD of Rs. 25000/- through demand drafts separately in favour of Infrastructure Development Authority  payable at Patna along with the Technical Bid. Tender Document complete in all respects in a sealed envelope to be dropped in Tender Box by 3:00 p.m. on 05-04-2013 . Technical bid will be opened on 05-04-2013at 4:00 p.m. at Conference Hall, IDA, Patna. The tenders received late or tenders without EMD and Processing Fee/Conditional tenders/Incomplete Tenders in any respect would be rejected. The IDA reserves the right to accept or reject any or all tenders without assigning any reason. The finalized bidder will have to enter into a legal contract/agreement with the IDA before rendering its services.                                                                                                                          Sd/-

Director (Administration)

| INFRASTRUCTURE DEVELOPEMENT AUTHORITY (A Government of Bihar Undertaking) 1st Floor Udyog Bhawan, East Gandhi Maidan, Patna Email-md@idabihar.com , Web-www.idabihar.com, phone/ Fax: 0612-2675991, 2675945/2675889 |  |
| --- | --- |

NOTICE INVITING TENDER FOR HIRING OF 63 KVA SILENT DG-SET

Sealed tenders under two-bid system (Technical Bid & Financial Bid) are invited by Infrastructure Development Authority, Patna (IDA) from bonafide & resourceful owners and suppliers of 63 KVA Silent Diesel Generator Set, on hire basis for its headquarter at Patna. The required D.G. Sets should be capable of supplying continuous power of at least 90% of rated output, at the frequency of 50 Hz during power failure/load shedding at any point of time, as per requirement of IDA.

The scope of services and terms & conditions for hiring the 63 KVA Silent D.G. Set is as under:

- The supplier should be agreeable to provide Silent type D.G. set on hire basis, with operator & fuel to be consumed. Rates are to be quoted for monthly rental charges including the cost of operator, for each rating of D.G. Set of reputed make/brand like “Kirloskar Green”, “Greaves”, “Cummins India”, “Mahindra”, “Ashok Leyland”.

- DG Set having multifunctional digital meter for showing voltage, current, power factor, frequency, rpm and running hour.

- All cost for maintenance and servicing of the generating set including the cost of spare parts, periodical replacement and topping up of Mobil oil etc. are to be borne by the generator supplier.

- The D.G. Set offered on hire basis should not be more than 2-years old.

- The D.G. Set should be maintained properly to keep those in satisfactory running condition at all times for supplying emergency power for a load at least 90% of the capacity of respective generator.

- For running the D.G. set, separate charges towards cost of fuel (diesel) per hour will be paid by the IDA, which are to be quoted by the bidder.

- Supply & installation of accessories like cables, change-over switches, exhaust pipeline etc. for supplying generator power to a point in IDA premises will be made by the vendor at their own cost.

- The charges for transportation, loading & unloading of the D.G. Set for installation of the same in IDA premises will be borne by the Contractor. Mending of any damage caused to the IDA’s property during loading, unloading of the D.G. Set in IDA’s premises will be done by the contractor to original finish, at their cost.

- The successful bidder should be in a position to install and commission the D.G. Set in IDA’s premises within 15 (Fifteen) days from the date of awarding the contract.

- The contract will remain in force initially for a period upto 01-01-2014 from the date of satisfactory commissioning of the D.G. Set at site. However, the contract is subject to termination at any time if the services are not found satisfactory or for any other reason whatsoever. The contract may be extended for further period keeping terms & conditions unchanged, depending on satisfactory services rendered by the contractor and requirement of the IDA.

- In case of major break-down of the D.G. Set an alternative interim arrangement will be made by the contractor immediately at no extra cost otherwise penalty may be imposed which may be deducted from monthly bill of the generator for the period the generating set remains non-functioning.

- The successful bidder will have to execute an Agreement with the IDA in non-judicial stamp paper of requisite value and as per the draft of Agreement (format given at annexure-3) to be provided by the IDA, within 15 (Fifteen) days from the date of commencement of the contract.

- Tenders should be submitted along with the Earnest money deposit for an amount of Rs. 25,000/- (Rupees Twenty-five Thousand only) by DD/Pay Order drawn in favour of IDA payable at Patna. Tenders submitted without Earnest money Deposit will be summarily rejected. The Earnest money will not bear any interest. The Earnest money deposited by unsuccessful bidders will be refunded after awarding the contract to the successful bidder. The Earnest money deposited by the successful bidder will be kept as performance security deposit which will not bear any interest and the same will be refunded to the contractor within a reasonable period after the closure of the contract.

- The contractor will have to remove the D.G. Set within a week from the date of termination or closure of the contract, at their cost, else demurrage charges @ 1000/- (Rupees One thousand only) per day will be charged by the IDA to the contractor. Mending of any damage caused to the IDA’s property during taking out the generator will be done by the contractor to original finish, at their cost.

- If the successful bidder fails to perform the commencement of the contract within the specified time period, the earnest money deposited by the bidder will be forfeited.

- The IDA reserves the right to reject any or all tenders without assigning any reason whatsoever.

Procedure for Submission and Opening of Tenders:

- Part-I of tenders should be submitted in separate sealed envelope, super-scribing “TECHNICAL BID” and should contain the following:

  - Filled in Format (given as Annexure-1) containing details of Bidder firm with Make, Model, Manufacturing Date, Capacity & Fuel (diesel) consumption per hour of D.G set offered on hire basis. Paper proof to be attached proving the relevant specifications.

  - Non-refundable Tender Processing Fee of Rs. 1,000/- (Rupees One thousand only) in the form of DD/Pay Order drawn in favour of Infrastructure Development Authority payable at Patna.

  - Earnest Money Deposit (EMD) of Rs. 25,000/- (Rupees Twenty-five thousand only) in the form of DD/Pay Order drawn in favour of Infrastructure Development Authority payable at Patna..

There should not be any indication of price/rate/charges in Part-I (Technical Bid) of the tender. Conditional tenders will not be accepted.

- Part-II of tenders should be submitted in separate sealed envelope, super-scribing “FINANCIAL BID” and should contain filled in Format (given as Annexure-2) quoting rates for the same.

Separate sealed envelopes containing Part-I and Part-II of tenders should be put in another sealed cover, super-scribing “OFFER FOR HIRING OF 63 KVA SILENT D.G. SET” and dropped in Tender Box at IDA 1st floor, Udyog Bhawan, East Gandhi Maidan, Patna by 3:00 P.M. on ________. Part-I of tenders will be opened at 4.00 P.M. on same day in presence of the bidders who intend to remain present. Financial Bids of Technically qualified bidders only will be opened later.

Director (Administration)

Format for Technical Bid (Annexure-1)

(To be submitted on firm’s letter head in sealed envelope-1 super scribed as “TECHNICAL BID”)

To,

The Director( Admin),

IDA, Patna.

With reference to the Notice Inviting Tender for hiring of 63 KVA Silent DG Set for IDA, Headquarter, having gone through and understood the scope of services and terms & conditions, we hereby submitting the technical information details as required:

| Sl. | Particulars | Information furnished | Proof attached on page no. |
| --- | --- | --- | --- |
| 1 | Name of the Proprietor with Name, Address & Phone No. of the Bidder Firm |  |  |
| 2 | Electrical Contractor License Number |  |  |
| 3 | PAN No. |  |  |
| 4 | Service Tax No. |  |  |
| 5 | Specification as per approved by Manufacturing I.S. Company of the proposed 63 KVA Silent DG Set | Make ……………………………………….. Model ………………………………………. Manufacturing Date ………………………. Capacity ……………………………………. Fuel (diesel) consumption litre/hour …….. Multifunctional Digital Meter |  |
| 6 | Details of Demand Draft for non-refundable Tender Processing Fee of Rs. 1,000/- | DD No. …………………………………….. Date ………………………………………… Bank ……………………………………….. |  |
| 7 | Details of Demand Draft for Earnest Money Deposit of Rs. 25,000/- | DD No. …………………………………...... Date ………………………………………… Bank ……………………………………...... |  |

Signature with date &

seal of the Bidder

Format for Financial Bid (Annexure-2)

(To be submitted on firm’s letter head in sealed envelope-2 super scribed as “FINANCIAL BID”)

To,

The Director( Admin),

IDA, Patna.

With reference to the Notice Inviting Tender for hiring of 63 KVA Silent DG Set for IDA, Headquarter, having gone through and understood the scope of services and terms & conditions, we hereby submitting our lowest rates as follows:

| Name, Address & Phone No. of the Firm ………………………………………………. ………………………………………………. ………………………………………………. | Rental charges per month including operator, maintenance charges with all taxes. ( In Figure and words) | Running cost of Fuel (Diesel/Mobil) pehour. (In Figure and words) |
| --- | --- | --- |
| Approved Specification by Manufacturing I.S. Company of the proposed 63 KVA Silent DG Set |  |  |
| Make : |  |  |
| Model : |  |  |
| Manufacturing Date : |  |  |
| Capacity : |  |  |
| Fuel (diesel) consumption litre/hour : |  |  |

Signature with date &

seal of the Bidder

Annexure-3

(Agreement to be executed with the IDA on non-judicial stamp paper of Rs. 100/- as per the draft of Agreement)

AGREEMENT

THIS AGREEMENT made this………………….day of ……………. Between Infrastructure Development Authority having its Head Office at 1st Floor, Udyog Bhawan, East Gandhi Maidan, Patna - 800004 (hereinafter called IDA which expression shall unless excluded by or repugnant to the context be deemed to include its successor and assign of the One Part and M/s…………………………….......................................................

having its Address/Registered Office at ………………………...………………………………..

(hereinafter called the “CONTRACTOR”) of the ‘Second Part’ which expression should include its successor/s and assignee/s.

WHEREAS the IDA is desirous of executing Contract for Hiring of …………………………………………………………………………………………………………

……………….………… at …………………………………..……………………………………..

…………………………….. and has caused specifications describing the work to be prepared and/or to be prepared by IDA.

AND WHEREAS the said specification as mentioned in the tender document (hereinafter mentioned), the specifications of the said DG Set have been signed by and on behalf of the parties hereto.

AND WHEREAS the Contractor has agreed to execute upon and subject to the conditions set forth herein and in schedule of item, scope of services and terms & conditions as mentioned in the Notice Inviting Tender and all correspondence exchanged by or between the parties from the submission of tender till the award of work vide letter no………………………dated…………, both letters inclusive, (all of which are collectively hereinafter referred to as “the said conditions”), the work described in the said notice inviting tender and included therein at the rates inclusive all taxes amounting to the sum of Rs…………………………… for monthly rent of DG Set and Rs. ……………per hour for Running cost of fuel (Diesel/Mobil) become payable hereunder (Hereinafter referred to as “The said Contract Amount”).

NOW IT IS HEREBY AGREED AS FOLLOWS:

  - In consideration of the said contract amount to be paid at the time and in the manner set forth in the said conditions, the contractor shall upon and subject to the said conditions, execute and complete the work shown upon the said specifications.

  - The IDA shall pay the contractor said contract amount at the times & in the manner specified in the said conditions.

  - The said conditions and appendices thereto shall be read and considered as forming part of this Agreement, and the parties hereto shall respectively abide by, submit themselves to the said conditions and perform the Agreement on their part respectively in the said conditions contained.

  - The Agreement and documents mentioned herein shall form the basis of this contract.

  - The contractor hereby agrees to commence the work, as specified in the notice inviting               tender.

  - All payments by the IDA under this contract will be made after satisfactory daily supervision done by competent technical person regarding fuel consumption & running time in hours per day against submitted monthly bill by the contractor.

  - Any dispute arising under this Agreement shall be referred to arbitration in accordance with the stipulations laid down in the conditions of contract.

  - That the several parts of this contract have been read and fully understood by the contractor.

  - SCOPE OF WORK AND TERMS & CONDITIONS

- The supplier should be agreeable to provide Silent type 63 KVA D.G. set on approved rates on monthly hire basis, with operator & fuel to be consumed for D.G. Set of reputed make/brand like “Kirloskar Green”, “Greaves”, “Cummins India”, “Mahindra”, “Ashok Leyland” or other equivalent reputed make/brand, conforming to relevant I.S. specification.

- All cost for maintenance and servicing of the generating set including the cost of spare parts, periodical replacement and topping up of Mobil oil etc. are to be borne by the contractor.

- The D.G. Set offered on hire basis should not be more than 2-years old.

- The D.G. Set should be maintained properly to keep those in satisfactory running condition at all times for supplying emergency power for a load at least 90% of the capacity of respective generator.

- For running the D.G. set, separate charges towards cost of fuel (diesel/mobil) per hour will be paid by the IDA, which are to be quoted by the vendor.

- Supply & installation of accessories like cables, change-over switches, exhaust pipeline etc. for supplying generator power to a point in IDA premises will be made by the contractor at their own cost.

- The charges for transportation, loading & unloading of the D.G. Set for installation of the same in IDA premises will be borne by the contractor. Mending of any damage caused to the IDA’s property during loading, unloading of the D.G. Set in IDA’s premises will be done by the contractor to original finish, at their cost.

- The contractor should be in a position to install and commission the D.G. Set in IDA’s premises within 15 (Fifteen) days from the date of awarding the contract.

- The contract will remain in force initially for a period of one year from the date of satisfactory commissioning of the D.G. Set at site. However, the contract is subject to termination at any time if the services are not found satisfactory or for any other reason whatsoever. The contract may be extended for further period keeping terms & conditions unchanged, depending on satisfactory services rendered by the contractor and requirement of the IDA.

- In case of major break-down of the D.G. Set an alternative interim arrangement will be made by the contractor immediately at no extra cost otherwise penalty may be imposed which may be deducted from monthly bill of the generator for the period the generating set remains non-functioning.

- Earnest money deposited with tender document for an amount of Rs.25,000/- (Rupees Twenty-five Thousand only) by DD/Pay Order drawn in favour of IDA and payable at Patna will be realized in the bank account of IDA keeping as performance security deposit which will not bear any interest and the same will be refunded to the contractor within a reasonable period after the closure of the contract.

- The contractor will have to remove the D.G. Set within a week from the date of termination or closure of the contract, at their cost, else demurrage charges @ 1000/- (Rupees One thousand only) per day will be charged by the IDA to the contractor. Mending of any damage caused to the IDA’s property during taking out the generator will be done by the contractor to original finish, at their cost.

- If the successful bidder fails to perform the commencement of the contract within the specified time period, the earnest money deposited will be forfeited.

- The contract may be terminated at any time without assigning any reason and by giving 30 days prior notice for the same or contractor may quit from agreement by giving a notice 30 days in advance.

- In case of any dispute or differences arising on terms and conditions, the same shall be settled and the decision made by Managing Director, IDA will be final.

- Jurisdiction – In case of any dispute, the jurisdiction shall be the court of the Patna only.

In witness whereof the IDA and the Contractor have set their respective hands to be executed on its behalf of the day and year first herein written.

Signed on behalf of 		                                              Signed on behalf of IDA

Contractor 							   by its duly authorized Officer

In presence of:                                                               In presence of:

1.	 							1.

2.								2.